**9/17/16 Steve Willms: Auto Clave Operation**

* Ensure the DI water is above the coil inside the vessel of the autoclave.
* Ensure water is above the line in the cooling reservoir
* Set to 122C, Hold time of 20mins
* Sterilize and dry setting